## Worksheet
Project
| Model | CS104-Meat
"POLAIR-NEDVIZHIMOST" JSC
425000, Republic of Mari El, Volzhsk, | Quantity
1 Prombaza Street, Room 6, Floor 1, Letter A3 | Approval
https://www.polair.com | Date | 23.10.2026
CS104-Meat
Technical specifications
Volume, l | 400
Environmental conditions (t, °C / humidity, %) | up to +32 / 60 to 80
Overall dimensions | 606х630х1780
Temperature range, °C | 0...+15
Volume, l | 400
Power supply system, V/Hz | 230/50
Humidity level adjustment (range), % | 60 to 80
Refrigerant | R290
Defrost type | Automatic
Backlight | +
Material of the interior cladding of the body | Stainless steel
Material of the exterior cladding | stainless steel
UV lamp | +
Configuration | Bar + 2 shelves / 4 shelves
Lock | +
The manufacturer reserves the right to make changes that do not fundamentally affect the operational properties of the equipment without prior notice.